## Multi-Family-PUBLIC
WILDFLOWER COTTAGES AT HAYMEADOW - PUBLIC
OPINION OF PROBABLE COST
HKS PROJECT NUMBER: 2504026
ITEM | UNIT | UNIT COST | QUANTITY | TOTAL COST
MISCELLANEOUS
Mobilization | EA |  | 1
Traffic Control | EA | 1 | 1
Construction Surveying | EA | 1 | 1 | 7500
Clearing and Grubbing | SY | 1
Revegetation | SF | 1 |  | 250000
SWMPP Permit and Reporting | EA | 1 | 1 | 150000
Performance Bond | EA | 1% | 1 | 15440.65
SANITARY SEWER IMPROVEMENTS
4' Ø Manholes | EA | 8000 | 29 | 232000
4" PVC SDR35 Service | EA | 1650 | 89 | 146850
8" PVC | LF | 95 | 2429 | 230755
SANITARY SEWER IMPROVEMENTS |  |  |  | 609605
POTABLE WATER IMPROVEMENTS
Connect to EX | EA | 7500 | 3 | 22500
FIRE HYDRANT ASSEMBLY | EA | 10000 | 6 | 60000
8" DIP | LF | 155 | 2692 | 417260
8" Bend w/ Thrust Block | EA | 1850 | 30 | 55500
8" Gate Valve | EA | 5000 | 26 | 130000
1" Pure Core Water Service | EA | 2800 | 89 | 249200
POTABLE WATER IMPROVEMENTS |  |  |  | 934460
SHALLOW UTLITIES
Trenching (Elec. & Comm)- Joint & Service | LF
Electric Splice Vault UM-30R (Install Only) | EA
Swithgear Vault (UM1-35) | EA
Electric Splice Vault UM1-35L (Install Only) | EA
Electric Transformer (Single-phase) (Install Only) | EA
4" Conduit (Elec. Single-phase) (Trenching Only) | LF
2" Conduit Elec. Service | LF
4" Conduit Communication (Phone/CATV) | LF
2" Conduit Comm. Service | LF
Communication Hand Hole | EA
4" Spare Conduit | LF
Junction Boxes | EA
4" PVC Irrigation Conduits | LF
Irrigation Handholes (24"x18") | EA
SUBTOTAL | 1544065
MOBILIZATION (5%) | 77203.25
PERFORMANCE BOND (1.3%) | 20072.845
SURVEYING (2%) | 30881.3
CONSTRUCTION CONTINGENCY (10%) | 167222.2395
TOTAL 110% | 1839444.6345

## Multi-Family-PRIVATE
WILDFLOWER COTTAGES AT HAYMEADOW - PRIVATE
OPINION OF PROBABLE COST
HKS PROJECT NUMBER: 2504026
ITEM | UNIT | UNIT COST | QUANTITY | TOTAL COST
ROADWAY IMPROVEMENTS
Excavation | CY |  | 15460
Embankment | CY |  | 12469
Subgrade Preparation Roads | SY |  | 9484
Asphalt (4") - Roads | TN |  | 2220
Base course (8" Class 6) | TN |  | 2220
Gravel Shoulder (1') | LF |  | 1570
Concrete Curb and Gutter (6" Mountable) | LF |  | 1005
Concrete Curb and Gutter (6" Vertical) | LF |  | 2816
Concrete Walk | SY |  | 2013
Standard Signs | EA |  | 3
ROADWAY IMPROVEMENTS |  |  |  | 0
SANITARY SEWER IMPROVEMENTS
4' Ø Manholes | EA | 8000 | 4 | 32000
8" PVC | LF | 95 | 307 | 29165
SANITARY SEWER IMPROVEMENTS |  |  |  | 61165
BMPs
Inlet Protection | EA |  | 31
Silt Fence | LF |  | 2037
Vehicle Tracking Control | EA |  | 1
BMPs |  |  |  | 0
STORM SEWER IMPROVEMENTS
18" RCP | LF | 95 | 1996 | 189620
Type R Inlet 5' | EA | 12500 | 7 | 87500
Type R Inlet 10' | EA | 12500 | 3 | 37500
Type C Inlet | EA | 12500 | 3 | 37500
4' Ø Manholes | EA | 12500 | 16 | 200000
4' Ø Manholes w/ Grated Lid | EA | 12500 | 3 | 37500
STORM SEWER IMPROVEMENTS |  |  |  | 589620
SUBTOTAL | 650785
MOBILIZATION (5%) | 32539.25
PERFORMANCE BOND (1.3%) | 8460.205
SURVEYING (2%) | 13015.7
CONSTRUCTION CONTINGENCY (10%) | 70480.0155
TOTAL 110% | 775280.1705